Lab Journal

Introduction

Aims of the Experiment

Materials

Inoculation

- Four 50ml falcon tubes.

- 70% ethanol for sterilisation.

- 40 ml of bacteria growth media.

- 40 μl of rifampicin.

- 8 μl of tetracycline.

- A lawn or streak plate of aNS33 Empty Vector (EV) Agrobacterium strain.

- A lawn or streak plate of aNS37 (GV301 + gsn cluster) Agrobacterium strain.

- P10 and P2 pipettes.

- Equipment: biosafety cabinet and orbital shaker.

Agroinfiltration

- 500 μl of MES pH5.6.

- 500 μl of MgCl2.

- 5 μl of acetosyringone.

- Sterile water.

- Four 50ml falcon tubes.

- Three cuvettes.

- Nine Nicotiana bethamiana plants.

- Four needleless 1ml agroinfiltration syringes.

- A face mask.

- Masking tape.

- Tissue.

- Whiteboard pens.

- P5000, P1000, P200 and P10 pipettes.

- Centrifuge.

- Spectrophotometer.

Apoplastic Fluid Extraction

- Six falcon tubes.

- Six 20 ml syringes.

- A 50 ml syringe.

- De-ionised water.

- Tweezers.

- Tissue.

- Centrifuge.

Lectin Blot

- Seven 2ml Eppendorf tubes.

- Six 1.5 ml Eppendorf tubes.

- 600 μl of acetone.

- 15 μl of 1M NaCl.

- P10, P20, P200 and P1000 pipettes.

- Centrifuge.

- 100 μl of DTT.

- 250 μl of Laemmli buffer.

- Sterile water.

- Tris-Glycine-SDS (TGS) buffer.

- A heat block.

- A gel cassette.

- 10 μl of PageRuler Prestained Protein Ladder.

- A Phosphate Buffered Saline (PBS) tablet.

- A 1 litre bottle.

- A 1 litre measuring cylinder.

- Two PDVF membranes.

- Sterile scissors.

- Tweezers.

- Transfer buffer.

- Transfer cassette.

- Roller.

- 100% ethanol.

- Four filter paper stacks.

- 10 μl of Tween-20.

- 2 ml of 1x Carbo-Free blocking solution.

- Three 50ml falcon tubes.

- A gel shaker.

- Three petri dishes.

- Two 15 ml tubes.

- 10 μl of RCAI.

- 10 μl of ConA.

- 1.5 g of Bovine Serum Albumin (BSA).

- Mass balance and weighing boat.

- Spatula.

- 6 μl of Strepavidin-HRP.

- 1 ml of luminol dye.

- 1 ml of hydrogen peroxide.

- ImageQuant LAS400 scanner.

- Epson scanner.

- Ponceau solution.

Fluorescein di-β-D-galactopyranoside (FDG)

- Three petri dishes.

- A 2ml tube.

- 200 μl of 1M FDG.

- Sterile water.

- Three 1ml needleless agroinfiltration syringes.

- Typhoon5 biomolecular imager.

Methods

Inoculation

- Label four 50 ml falcon tubes with either EV or gsn, name and date. There should be two falcon tubes for EV and two for gsn in order to have enough bacterial culture to agroinfiltrated an entire leaf.

- The remaining steps in inoculation are carried out inside a biosafety cabinet. Surface sterilise the gloves with ethanol. Biosafety cabinets prevent contamination of samples by blowing air against you. the further back in the cabinet, the more sterile it is.

- Add 10 ml of media containing sugar, ions and amino acids to each falcon tube. Only 10ml of media is added to a 50ml falcon tube for efficient mixing and sufficient oxygen.

- Use a P10 pipette to add 10 μl of rifampicin to the media.

- Use a P2 pipette to add 2 μl of tetracycline to the media, pipetting into the liquid as it is a small volume. The antibiotics are added to create a selective media. Agrobacterium has naturally evolved rifampicin resistance in its chromosomal DNA. Tetracycline resistance is conferred by the plasmid that contains the gsn biosynthesis cluster.

- Surface sterilise the gloves again. Once dry, bend a pipette tip, and use it to scoop up the appropriate bacteria from the plate, and drop the entire pipette tip into the tube. The bacteria for the EV tubes are taken from a plate of the aNS33 EV strain, and the bacteria for the gsn tubes are taken from a plate of the aNS37 strain, containing the gsn biosynthesis cluster. Bacteria should be added to the EV tube first to reduce risk of contamination. A lawn plate or a streak plate can be used as the experiment does not require a single colony. The liquid culture allows bacteria to accumulate.

- Screw on the lids of each of the falcon tubes, and place in an orbital shaker at 28°C. Shaking prevents biofilm formation. Agrobacterium normally grows at 25 degrees C/ambient temperature as it infects plants. Humans have selected it to grow at 28 degrees for faster growth.

Agroinfiltration

- Prepare the agroinfiltration buffer.

C1V1 = C2V2.

All stock concentrations were 1M. Final concentrations in the buffer: 10 mM MES pH5.6, 100µM acetosyringone and 10 mM MgCl2. Acetosyringone (alongside low apoplastic pH) activates the vir (virulence) genes, which encode the Type 4 Secretion System that injects T-DNA into the cell, so is not strictly necessary in this experiment because glycosyrin is only produced by Agrobacterium in the apoplast—there is no transient expression.

MES and MgCl2: 1000 mM x V = 10 mM x 50 ml     V = 0.5 ml = 500 μl.

Acetosyringone: 1000 mM x V = 0.1 mM x 50 ml    V = 0.005 ml = 5 μl.

Pipette 500 μl of MES pH5.6 (pH buffer), 500 μl of MgCl2 (an osmolyte) and 5 μl of acetosyringone into a 50 ml falcon tube.

- Use a P1000 to fill the rest of the falcon tube with sterile water.

- Centrifuge the bacterial cultures at 4,000 rpm at room temperature for 5 minutes, ensuring the centrifuge is balanced. Anything above 5,000 rpm, and the cells would burst.

- Discard the supernatants into a falcon tube for autoclaving.

- Resuspend the bacterial pellet in 2ml of agroinfiltration buffer, and mix, using a P1000 pipette. Combine the two EV bacterial cultures into a single tube, and the two gsn bacterial cultures into a single tube.

- Pipette 100 μl of bacteria suspension into a cuvette, and add 900 μl of agroinfiltration buffer. this is a 10x dilution to ensure the bacterial concentration inferred from the optical density (OD) is reliable. OD should fall in the range from 0 to 2.

- Blank the spectrophotometer first using a cuvette containing 1000 μl of agroinfiltration buffer.

- Measure the optical densities (OD) of the EV bacteria strain in one cuvette and the gsn bacteria strain in the other cuvette at 600nm with spectrophotometer.

|  | OD600 |
| --- | --- |
| Buffer | 0.000 |
| Empty Vector | 0.567 |
| Gsn | 0.618 |

- Dilute the bacterial cultures to OD = 0.5 in 50 ml falcon tubes.

C1V1 = C2V2

EV: (0.567 x 10) x V = 0.5 x 20   V = 1.764 ml.

Gsn: (0.618 x 10) x V = 0.5 x 20  V = 1.618 ml.

Fill the rest of the tube with agroinfiltration buffer up to 20 ml using a P5000.

- Select the leaves for agroinfiltration: typically, these are leaves 6 and 7, counting from the bottom up. The agroinfiltration should be carried out whilst wearing a face mask.

- Use a P200 pipette tip to make a tiny wound in the underside of the leaf to be infiltrated. It may be necessary to make several wounds, and infiltrate several areas, in order to infiltrate the whole leaf, though wounding should be minimised to ensure the plants survive.

- Use a needleless syringe to infiltrate the whole leaf for six plants, two leaves per plant. This means there are three biological replicates. Two leaves are required per sample in order for sufficient protein to be extracted. Different plants are used rather than one EV leaf and one gsn leaf in this section of the experiment to prevent contamination of the global proteome with glycosyrin. Infiltrate two whole leaves of three plants using EV bacterial cultures. Infiltrate two whole leaves of three plants using gsn bacterial cultures. These six plants will be used for the lectin blot.

- Change gloves between each culture.

- Use tissues to dry up excess cultures.

- Label the leaves that have been infiltrated using a masking tape label on the petioles of the infiltrated leaves, indicating EV or gsn.

- An additional masking tape label with the name and date should be added to the pots of the plants.

- Infiltrate a further three plants (two leaves on each) to use with the FDG probe. Infiltrate a large spot of EV on one side of each leaf and a large spot of gsn on the other side of each leaf.

- Dry the leaf with tissue, label each spot as EV or gsn (EV on the left-hand side of each leaf) with a whiteboard pen, and draw a circle on the top side of each leaf around the infiltrated area.

- Leave the agroinfiltrated plants in trays under the lights for three days. A shorter detection time of three days post-infiltration instead of five is used in this experiment because transient expression is not required: glycosyrin need only be produced by Agrobacterium in the apoplast.

Apoplastic Fluid Extraction

The apoplastic fluid is extracted rather than the intracellular proteins because glycosylated proteins tend to be secreted into the apoplast, and glycosyrin is produced in the apoplast by Agrobacterium (to simulate a plant pathogen) rather than transiently expressed in the plant.

- Prepare, and label, six falcon tubes: each tube should have a 20 ml syringe without a plunger inside.

- Cut off the two leaves from one of the plants.

- Rinse them in de-ionised water.

- Roll the leaves, and insert them into a 50 ml syringe without the plunger.

- Fill the syringe with de-ionised water, covering the tip with your finger.

- Push the plunger, still covering the tip, to fill the mesophyll with water to make it easier to extract the apoplastic fluid (AF) by centrifugation later.

- Use tweezers to remove the leaves, and dry them.

- Roll up the leaves, and insert them into the 20 ml syringe inside the falcon tube.

- Store the tube on ice.

- Repeat for all six plants (3 EV and 3 gsn).

- Centrifuge the tubes at 4 °C, 500x g and acceleration and deceleration of 4 for 20 minutes. The lower temperature inhibits proteases, which would otherwise degrade the proteins. Lower speed and acceleration to prevent damage to the leaf.

Lectin Blot

- Pour out the AF from the falcon tubes into 2 ml Eppendorf tubes.

- Pipette 150 μl of AF into 1.5 ml Eppendorf tubes.

- Pipette 15 μl of 1 M NaCl into the 1.5 ml Eppendorf tubes.

- Pipette 600 μl of acetone into the 1.5 ml Eppendorf tubes.

- Invert ten times to mix. Don't vortex so as not to break the proteins.

- Store the 2 ml tubes in the freezer.

- Keep the 1.5 ml tubes on ice for 15 minutes to precipitate the protein. Precipitating the protein is important to have enough concentrated protein for the Western blot.

- Centrifuge the 1.5 ml tubes at 12,000xg for 10 minutes.

- Make the loading buffer. Add 100 μl of DTT, 250 μl of Laemmli buffer and 650 μl of sterile water. Invert to mix. Laemmli buffer contains heavy glycerol to trap proteins, so that the proteins descend, rather than dissipate. It is also a reducing agent that prevents oxidation during the running of the gel. DTT is also a reducing agent to prevent disulphide bond breakage, and keeps proteins intact.

- Remove the supernatant, and air dry briefly (on ice).

- Add 30 μl of loading buffer.

- Heat the 1.5 ml Eppendorf tubes on a heat block at 95 °C for five minutes. This denatures the proteins, so their function and shape do not affect the gel run. Heating often helps with dissolving the protein. Store them on ice.

- Add TGS buffer to the gel cassette.

- Use a P1000 to flush the gel with TGS buffer.

- Pipette 10 μl of ladder into the first well, then 10 μl of EV 1, 2 and 3 into wells 2, 3 and 4, skip well 5 and then 10 μl of gsn 1, 2 and 3 into wells 6, 7 and 8 and PageRuler Prestained Protein Ladder into well 9. Repeat this for a second gel.

- Run the gel at a slower speed (50 mA) for the first ten minutes to squeeze the proteins into a thinner layer for better resolution, then increase the speed to 190V until the proteins reach the end of the gel.

- Make Phosphate Buffered Saline (PBS) buffer by dissolving a PBS tablet in 1 litre of water in a bottle, adding the water using a 1 litre measuring cylinder.

- Transfer to the PDVF membranes: the proteins move with the current on the gel from negative to positive, so this must also be the case to transfer the proteins from the gel to the membrane (rather than the filter paper).

  - Use sterile scissors to cut the membranes to size.

  - Use tweezers to dip the filter paper stack in transfer buffer, let it drain, so it doesn't create a pool in the transfer cassette.

  - Roll out any bubbles. Use tweezers to dip the membrane in pure ethanol to activate it, so it can conduct electricity, then put the membrane on top of the filter paper.

  - Use your hands to lift the gel on top of the membrane, and roll with the roller dipped in transfer buffer.

  - Use tweezers to add another filter paper stack dipped in transfer buffer.

  - Roll gently. Repeat this for the other gel.

  - Run the current for 10 minutes.

- Make the blocking buffer: add 2ml (using a P1000 pipette) of 1x CarboFree blocking solution, and 10 μl (using a P10 pipette) of Tween-20 into a falcon tube. Add sterile water up to the 20 ml mark. Pipette on the surface of the Tween-20 as it is very sticky, so additional Tween-20 would stick to the outside of the pipette.

- Add the membrane to the blocking buffer in a petri dish. Place on the orbital shaker for 30 minutes. A blocking buffer is used, so that the lectin only binds to glycosylated proteins. Milk cannot be used as the blocking buffer as milk contains sugar.

- Remove the carbo-free blocking buffer by decanting it into a falcon tube.

- Use tweezers (plastic) to transfer each membrane into a petri dish-- one labelled RCAI for Ricinus communis agglutinin 1 and one labelled ConA for Concanavalin A.

- Add 10 ml of PBS to two 15 ml tubes. Add 10 μl of RCAI to one of the tubes of PBS and 10 μl of ConA to the other tube. Invert the tubes to mix. ConA binds to mannose and glucose-- broader specificity. Gnl (galanthus nivalis lectin), the lectin which we were going to use, is mannose-specific. Mannosidases are only inside the cell as they primarily trim the high mannose tree in the ER, so if the mannose profile changes then glycosyrin can travel inside the cell (this is not yet known yet). Other ways of testing whether glycosyrin can travel inside the cell include radio-labelling it, or electrophysiology to test whether glycosyrin travels via a transporter into the cell by creating a synthetic membrane and placing electrodes either side. Glucosidases are in the AF.

- Pour the tubes into each corresponding petri dish.

- Place the petri dishes in an orbital shaker in a cold room overnight.

- Discard the RCAI and ConA.

- Rinse with PBS-Tween-20 (PBS-T): add PBS to cover the membrane, shake by hand and discard the PBS-T. Wash with PBS-T for seven minutes then five minutes then five minutes on a gel shaker to remove unbound lectin.

- Discard the PBS-T. Add 1.5 g of BSA (bovine serum albumin) to 30 ml of PBS-T in a 50 falcon tube-- this is for blocking. Milk cannot be used as milk also contains biotin.

- Add 6 μl of Strepavidin-HRP to the 30 ml of BSA + PBS-T. RCAI is a biotinylated lectin, so the Strepavidin antibody binds to the lectin as it is specific to biotin.

- Cover the membranes in the Strep-HRP + BSA + PBS-T solution, and place them on the gel shaker for 30 minutes.

- Discard the solution. Wash with PBS-T: do one rinse with PBS-T, then wash with PBS-T on the gel shaker for seven minutes, five minutes then five minutes.

- Add 1 ml of luminol dye and 1 ml of hydrogen peroxide in a 2ml tube. Invert to mix. Store the tube in the dark.

- Detect chemiluminescence using an ImageQuant LAS400 scanner. Wait for the scanner to cool to -35 °C. Add 1ml of the luminol-hydrogen peroxide mixture to each membrane. Place the membrane in the scanner. Settings: auto exposure, precision exposure type, exposure time of six seconds and standard resolution/sensitivity. More intense bands at the top for gsn with RCAI. More intense bands for gsn with ConA. The luminescence triangle: HRP enzyme + H2O2 (high-energy compound) + luminol dye.

- Rinse the membranes in sterile water.  Cover the membranes in Ponceau solution, and leave to stain until distinct red bands appear.

- Scan the membranes in-between two sheets of plastic using an Epson scanner, pushing out any air bubbles.

Fluorescein di-β-D-galactopyranoside (FDG)

- Cut the leaves, and place them on petri dishes.

- Dilute the 1M FDG ten-fold: add 200 μl into a 2ml tube, and fill the rest with sterile water, so the concentration of FDG is 100 mM FDG.

- Agroinfiltrate a smaller spot of FDG within each spot of EV and gsn on each leaf using a 1ml syringe. The FDG probe acts quickly.

- Infiltrate FDG in an additional spot on the leaf that had not previously been infiltrated. All spots should be approximately the same size.

- Place the leaves on the Typhoon5 biomolecular imager. Add the glass covering on top, and close the scanner.

- Use 488 nm wavelength because this is the wavelength required for fluorescein (the fluorescent group of FDG) to fluoresce. Each pixel is 100 nm. When scanned under the 635 nm wavelength, no fluorescence (just the puncture wounds on the leaf) was observed as this was not the wavelength appropriate for the FDG.

Results

FDG only fluoresces when the galactose residues are cleaved off as this releases its fluorescent group (fluorescein). The negative control is the leaf halves infiltrated with EV followed by FDG. The negative control is expected to fluoresce much more than the leaf halves infiltrated with glycosyrin as glycosyrin inhibits galactosidases, thereby preventing cleavage of the galactose residues of FDG. The positive control is a small spot of FDG in an area of each leaf that has not yet been infiltrated.

Discussion

Conclusion with recommendations